1. Chromeleon setting check~~!!

다음과 같이 server configuration에 들어가 설정에 들어간다.

Server configuration

Nano_LC – double click

※ Key code : WMMJWG - FVKKQF - WMMJWG – JZXXFH

Nano-LC double click

LC packings FAMOS autosampler double click

LC packings Switchos II SSV - Double click

LC packings ultimate/switchos system

Nothing checked

Virtual Channel driver – double click

2. How to create timebase

Add timebase to create timebase(Nano-LC) !!

Add device on timebase.